STEVENS ADVANTAGE 5120 PERFORMING ARTS – MUSIC

SECTION - 12400

PART  1  GENERAL

1.01  GENERAL PROVISIONS

A.	Applicable provisions of General Conditions, Special Conditions, and General Requirements shall apply to this section as if repeated in full herein.  Reference other Sections and Divisions for work in connection with this section.

1.02  SCOPE OF WORK

A.  	Cabinets:  Furnish Performing Arts - Music cabinetry and related components as specified herein.  Refer to plans and equipment lists for details and requirements.  Cabinetry shall include all fillers, scribes, finished ends, and finished backs for complete installation.  Locks to be provided where shown on casework drawings or described in equipment lists.

1.03  RELATED WORK NOT INCLUDED

A.	Blocking, Framing, and Reinforcements:  In walls, ceilings, and floors for cabinetry anchorage and mountings.  (Specified in carpentry section)

B.	Vinyl Base Molding: (Specified in resilient flooring section)

1.04  QUALIFICATION

A.	Performing Arts:  Casework shall be Stevens Advantage 5120 Performing Arts - Music.  Catalog numbers and specification details shall be based on product offerings of Stevens Industries, Inc., Teutopolis, Illinois.  Configuration, size, material options, offerings, and quality to be adhered to.

B.	Approvals:

1.	Casework of other manufacturers will be considered for approval, providing written request is received and approved at least ten (10) days prior to announced bid date and approved by addendum.  Bidder shall state in writing any deviations from requirements and specifications.  The casework shall conform to the configuration, arrangement, design, material quality, joinery, panel thickness, and surfacing of that specified and shown on drawings.

2.	Manufacturers requesting approval shall submit samples with cut-aways showing cabinet construction, joinery, drawer and door construction, hardware, and materials, along with catalogs and specification, in order that accurate evaluations can be made.  Manufacturers shall show full sized working samples.  Catalogs and specifications shall be submitted with written request, along with detailed list of compliance and deviations from these documents for approval.  Samples may be impounded by owner and retained until completion of job for verification and compliance of specifications.

3.	Manufacturer must be Architectural Woodwork Institute (AWI) Premium Certified and provide evidence of prior background experience with this specialty cabinetry section.

1.05  SUBMITTALS

A.	Shop Drawings:  Shall be submitted for approval after formal notification of award of contract.  Drawings shall consist of floor plans indicating arrangement and relation to adjacent work and equipment and complete elevations of casework.

B.	Color Samples:  Shall be submitted for selection and coordination at time of shop drawing submittals. Samples of actual materials and color shall be available as required.

C.	Catalog Cuts:  Additional catalog cuts, details, and samples as requested by architect for evaluation and coordination.

1.06  PRODUCT DELIVERY, STORAGE, AND HANDLING

A.	Protection:  Protect casework and related materials during transit, delivery, storage, and handling to prevent damage, soiling, and deterioration.

B.	Storage:  Store casework and related materials at project site in installation and storage areas with similar ambient conditions as final installation.  Storage areas must be kept dry, heated with low relative humidity, and away from construction work such as painting, wet work, grinding, and similar operations.

C.	Site Conditions:  In accordance with AWI’s Quality Standards Illustrated (current edition) and Stevens Industries, Inc.’s Site Conditions.

1.07  WARRANTY – refer to The Stevens Advantage Warranty

A.	Casework manufacturer shall warrant for a period of three (3) years that its manufactured product is free from defects in materials and workmanship when properly installed and under normal use and conditions.

B.	Accessory equipment shall be warranted by appropriate manufacturer’s guarantee to the limit of that manufacturer’s standard warranties.

PART  2  PRODUCTS

2.01  SURFACE MATERIAL

A.	Cabinet:

1. 	Finished ends, fronts, and finished backs shall be faced with vertical grade PF-28 (.028") (.7mm) High Pressure Laminate (HPL), tested under National Electrical Manufacturers Association (NEMA) LD3-2005.  Decorative laminate shall be thermoset to core using catalyzed Polyvinyl Acetate (PVA) glue with minimum 80 Pounds per Square Inch (PSI) pressure and average 180 degree F. temperature.  (Lower pressure and cold curing glues not acceptable.)

2.	Panels with exterior PF-28 surfaces shall have Cabinet Liner Surface (CLS) (.020") (.5mm) interior cabinet liner.

B.	Interior:  Semi-exposed surfaces shall be Stevens Advantage TF laminate two (2) sides.  Laminate shall be homogenous, thermofused to core face resulting in panel structure warranted against any delamination.  Stevens Advantage TF laminate shall be tested under LD3-2005 vertical grade GP-28 standards.  TF lamination shall use high pressure 350-400 PSI with thermosetting temperatures of 380-400 degrees F. under precision controlled press cycle with textured surface finishes.

C.	Backs:  Shall have a solid color coordinated finish.

2.02  CORE MATERIALS

A.	Particleboard:  Shall be high performance industrial grade core.  Particleboard shall be 45# - 48# density 3-ply type formation conforming to American National Standards Institute (ANSI) A208.1 and American Society for Testing and Materials (ASTM) D1037-91A standards.

B.	Medium Density Fiberboard:  Core shall be minimum 48# density conforming to ANSI A208.1 MD-130 standards.

2.03  EDGINGS

A.	Door and Drawer Fronts:  Edges shall have 3mm radius edge high impact extrusion banding.

B.	Cabinet Edges:  Cabinet sides, top, bottom, adjustable shelves, and other interior components shall have 3mm radius edge high impact extrusion banding.

C.	Instrument Cabinet Shelf Edges:  Shall have seamless wrap-a-round one-piece front edge to shelf Scuff-Gard™ facing.  Seamless nose shall have smooth rounded transition to shelf surfacing and flush machined to bottom shelf face.

D.	Drawer Components:  3/4" sides shall be edged with (.020") flat edge extrusion.  Automated hot melt adhesive application and trimming.

E.	Selections:  Edgebanding to match laminate based on Stevens Advantage Select 2000 Edgebanding Color Selector.

2.04  SELECTIONS AND APPLICATIONS

A.	Exposed:  Cabinet finished ends, fronts, and finished back laminates shall be selected from Wilsonart Standards (standard price category).  Cabinet body ends and solid doors can be matching or different (one combination per project).  (Products with less offerings or applications not acceptable.)

B.	3mm High Impact Edges:  Shall be chosen from Stevens Advantage Select 2000 Edgebanding Color Selector.  Edgings shall include a range of 100 patterns and colors.  Edgings may be applied selectively with cabinet body 3mm edgings differing from those on solid doors.  Edgings can be matching to cabinet exterior face laminates and solid door laminates or contrasting (one combination per project).  (Products with less offerings or applications not acceptable.)

C.	Interior and Semi-Exposed Surfaces:  Shall have Stevens Advantage Pearl high performance TF laminate faces.

D.	Backs:  Shall have Pearl coordinated finish.

E.	Acousti-Grille Doors and Other Metal Components:  Shall have Pearl powder coated finishes.

2.05 HARDWARE

A.	Hinges:  For solid laminate and Acousti-Grille doors shall be inset type 5-knuckle design.  Hinges shall have interlaying leaves, constructed of (.090") thickness steel allowing 180° pivot swing.  Hinges shall be (Grade 1) with hospital ground tips and non-removable pins.  Grille and solid doors under 47" shall have two (2) hinges per door.  Doors exceeding 47" shall have three (3) hinges per door.  Solid door 5-knuckle hinges shall be mounted with two (2) 5mm thread bolt screws each leaf with additional #8 screws:  two (2) in cabinet leaf and three (3) in door leaf.  Total nine (9) fasteners per hinge.  (Mountings without 5mm thread bolt fasteners not acceptable.)

B.	Instrument Storage:

1.	Acousti-Grille Doors:  Shall be available in individual compartment and also full height cabinet one-piece sizes.  Wire Acousti-Grille doors shall be one-piece welded with full wrap 5/16" diameter steel frame.  5/16" cross framing reinforcements and 13/64" diameter vertical grille wire.  Acousti-Grille doors shall have welded attached 5-knuckle hinges with cabinet mounting leaf using two (2) 5mm thread bolt screws and two (2) additional #8 screws each leaf.

2.	Latching Mechanism:  Shall be integral to both solid doors and Acousti-Grille doors.  Both door types shall have a lock hasp, label, and catch mechanism.  This mechanism shall latch door shut automatically without the need of manual cross slides or finger activated locking.  Latch shall release with a simple grab action to release and open door.  Additionally the mechanism shall integrate a hasp design for padlock use.  Padlock loop shall pass through the hasp and latch providing a secure locked door.  Hasp design shall include a large label holder area suitable for slide-in labels, adhesive backed, and laminated engraved number systems.  (Latch systems without auto-latch closing not acceptable.)

3.	Acousti-Grille doors and hasp locking mechanisms shall have color coordinated Pearl powder coat finish.

C.	Door Catches:  Shall be positive engaging heavy duty spring loaded roll on type.  Catches shall have nylon movements with large (17.5mm) rollers.  Catches shall be mounted at door bottom.  Full height one-piece doors shall have catch top and bottom.  Catches shall include strike plate injection molded with integral engagement ridge and wide face door bumper.

D.	Pulls:  Shall be offered in easy grip 128mm (5" size).  Pulls shall be available as selected from Stevens Advantage Bentwire 128 and Contour 128 styles as shown in Stevens Advantage Essentials offering.  Bentwire 128 shall be 8mm diameter wire formed with powder coated or plated finishes.  Contour 128 styles shall be injection molded in high impact Acetyl Butyl Styrene (ABS) Black, Pearl, or Grey solid colors.  (Offerings of less size, styles, and selection shall not be acceptable.)

o	Add Option:  Additional pull selections from Stevens Advantage Artisan Collection.

E.	Scuff-Gard™:  Shelving faces shall be standard in all units designated as instrument storage units. Instrument storage cabinet shelving shall have one-piece wrap-a-round Scuff-Gard™.  Scuff-Gard™ is a one-piece high impact thermoform surface with alternating tread design, allowing easy cleaning and air circulation between stored material and shelf.  The molded leading front edge encapsulates the shelf edge with radius corners and shall be machined flush bottom design.  Scuff-Gard™ protection color coordinates with Stevens Advantage interior high performance Pearl TF laminates.

F.	Wire Shelving:  Shall be welded wire type allowing air flow venting.  Wire shelving shall be powder coated and mounted to allow removal.

G.	Hanger Bars:  Shall be heavy chrome plated oval tubing mounted in adjustable end wall sockets.

H.	Trays and Bins:  High impact polystyrene or polyethylene formed trays and bins shall be provided where indicated by model numbers.  Trays and bins shall be suspended on welded wire powder coated rack system.  System includes side suspension rack uprights with top and bottom horizontal guideways to capture trays and bins and avoid inadvertent tip out.

I.	Shelf Supports:  Adjustable shelf supports shall be injection molded clear polycarbonate.  Supports shall incorporate integral molded lock tabs to retain shelf from tipping or inadvertent lift out.  Supports shall have 5mm diameter double pin engagement into precision bored cabinet vertical hole patterns.  Adjustment shall be (32mm) 1 1/4" spacings.  Supports shall have a compression ridge effecting force against shelf edge to maintain positive pin engagement.  Supports shall have molded-in screw attachment feature.  Static test load shall exceed 200# per clip.  Shelf spans above 27" shall have 5-point support with backs drilled to receive a mid-span shelf support, further reducing deflection.  Shelf spans below 27" shall have end 4-point support.

J.	Locks:  High security 6-tumbler lock system shall be provided where noted by model number or indicated on drawings.  Locks shall have diecast body with dead bolt engagement tang.  (Cylinder locks with attached rotating cams not acceptable.)  Locks shall have removable and interchangeable 6-tumbler core for easy field and customer re-keying options.  Locks shall be master keyed and available key-alike or key-different with 250 standard key changes and the possibility of up to 2000 total changes on special order.  Each lock provided with a double bit key and face of lock stamped with key number.

K.	Drawer Slides:  Extension slides shall be bottom and side mount epoxy steel slides.  Lateral stability achieved through a formed captive slide profile.  Slides shall glide on nylon rollers and carry a 100# dynamic load rating.  Slides feature both in and out drawer stop with 3" self close and adjustable cam side alignment.  Slides shall also be tested under The Scientific Equipment and Furniture Association (SEFA) 6.5 Drawer Cycle Test.

L.	Coat Hooks:  Under mount and wall mount hooks shall be selected from Stevens Advantage Gallery Collection designs.  Hooks shall be formed cold roll steel with ball end tips and welded in stamped steel base.  Three (3) under mount designs (double, triple, wardrobe) and three (3) wall mount designs (single, double, schoolhouse).  Styles shall be design coordinated with quality matte nickel finish.  Attachment with #10 screws.  (Cast hooks susceptible to breakage, non-matching finishes or designs, and smaller screw mounting not acceptable.)

2.06 COMPONENT DETAILS AND CONSTRUCTION

Stevens Advantage Performing Arts - Music casework shall be an inset front design.  Vertical cabinet ends and compartment dividers shall extend to the frontal plane of door face.  Hinge hardware shall be inset cabinet mounted and door back mounted allowing a 180° pivot opening.

A.	Cabinet Components:  Shall be 3/4" thick members throughout.  Cabinet ends and compartment verticals shall have 3mm high impact extrusion edges.  Ends shall have back groove, and vertical components 3/4" thick shall be precision CNC drilled for accurate location of adjoining members.  Horizontal members shall be permanently affixed into dowel joined location.  Maximum security of individual storage compartments shall not allow exposed screw fastening, clip system, or removable shelf designs.

B.	Tall Cabinets:  Shall have two (2) internal (dowel into end) mounting frames behind cabinet back.  Additionally (dowel into end) toe kick frames shall be permanently mounted front and back.  Entire unit to be case clamped and provided as a rigid one-piece assembly.  (Units not providing rigid dowel pin design and with separate or attached bases not acceptable).

C.	Door Fronts:  Full or individual compartment solid doors shall be 3/4" thick.  Fronts shall be edged with 3mm radius edge high impact extrusions.  Automated hot melt adhesive application and trimming.  Face laminates to be as those described in 2.01.A.

D.	Cabinet Backs:  Shall be in an integrated system of a 1/4" prefinished Medium Density Fiberboard (MDF) back captured in side and horizontal grooves.  Unit back to be further integrated with attachment to 3/4" doweled-in mounting frames.  Fixed backs are mechanically fastened into grooves and sealed with hot melt adhesive.

E.	Adjustable Shelves:  Shelves with spans under 36" shall be 3/4" thick.  Wider spans behind doors with Scuff-Gard™ shall have additional length reinforcement.  Shelving shall have end 4-point support for spans under 27".  Spans above 27" shall have 5-point support with backs drilled to receive additional mid-span shelf support, reducing deflection under heavier loads.

F.	Drawers:  Four (4) sided full box design with separate attached front shall be provided.  Drawer members shall be 3/4" thick with dowel pin construction at all four (4) corners.  Drawer bottoms shall be 1/4" MDF trapped in groove four (4) edges as well as mechanically fastened.  Entire drawer box to be Stevens Advantage TF laminated.  (Drawers utilizing 1/2" members or with overlay applied bottoms, non-captured groove, or staple joint construction not acceptable.)

G.	File Drawers:  Shall have formed cold roll metal sides.  Sides shall be powder coated and include formed in file hanger rails.  Optional crossbar file hanging adapters to be provided where legal or special hanging files are specified.  File drawers shall be suspended on full extension ball bearing side mounted slides.  Full extension ball bearing suspensions shall be BIFMA 120# load rated slides.

H.	Folio Cabinets:  Shall have adjustable dividers or shelves.  1/4" thick shelves shall be mounted to relocate on 48mm (1 7/8" centers).  Typical compartment openings shall be 1 5/8" high.

I.	Instrument Storage Units:  Having both width and depth dimensions larger than 30" shall be shipped unassembled or allow disassembly, permitting passage through corridors and doorways.  Appropriate instructions and hardware shall be provided by manufacturer.

2.07 ADD COST OPTIONS FOR 5120 PERFORMING ARTS – MUSIC

o	Artisan Collection 128mm pulls in lieu of standard Essentials Collection.

o	Interior matching exterior laminate patterns or color matches to Wilsonart Standards as

available from Stevens Advantage Select 2000 TF Laminate Color Selector.  Scuff-Gard™ and

metal components standard Pearl finish.

o	Tamper resistant thru-bolt hinge to door attachment.

o	Sound absorption interior back option available on open and Acousti-Grille door

instrument storage units.  (Corner, wheeled storage, and other non-compartmented

units excluded.)

o	Special order Formica, Pionite, or Nevamar laminates.  (Matching interior to exterior

not available.)

PART 3  EXECUTION

3.01  INSTALLATION

A.	The installer must examine the job site and the conditions under which the work in this section is to be performed and notify the contractor in writing of any unsatisfactory conditions.  Do not proceed with work under this section until unsatisfactory conditions have been corrected in a manner acceptable to the installer.

B.	Casework, countertops, and related materials to be conditioned to average prevailing humidity condition in installation areas prior to start of work.

C.	Install casework and countertops with factory-trained supervision, authorized by manufacturer. Casework shall be installed plumb, level, true, and straight with no distortions (shim as required). Casework shall be securely attached to building structure with anchorage devices of appropriate type, size, and quantity to meet applicable codes, specifications, and safety conditions.  Where casework and countertops abut other finished work, scribe and trim to accurate fit, and caulk as required.

D.	Adjust casework and hardware so that doors and drawers operate smoothly without warp or bind. Lubricate operating hardware.

E.	Repair, or remove and replace, defective work as directed upon completion of installation.

F.	Advise project site superintendent of problems and precautions for protection of casework and countertops from damage by other trades until acceptance of the work by the owner.

G.	Cover casework with 4-mil polyethylene film for protection against soiling and deterioration during remainder of construction period.

END OF SECTION